## Read Me
Read ME
This Alternative Elements Guide is developed directly from the Sustainable Groundwater Management Act (Act) and the Groundwater Sustainability Plan Emergency Regulations (GSP regulations). It is provided to support local agencies, Groundwater Sustainability Agencies (GSA), or other entities during preparation and submission of their Alternatives. The guide is organized according to the California Code of Regulation Sections of the GSP regulations that are applicable to Alternatives. In the event that information or recommendations in this guide are inconsistent with, conflicts with, or omits the requirements of the Act, applicable laws, or the GSP regulations, the Act, other laws, or the GSP regulations shall prevail. Each entity submitting an Alternative can provide DWR with the location of the required element of the Alternative by completing the last two columns of the checklist or provide their own documentation of the locations of the Alternative elements. This will support DWR in its review of these Alternative. If an element does not pertain to an entity, then briefly describe why that Alternative element does not apply to the entity

## Alternative Elements Guide
Alternative Elements Guide
California Code of Regulations - GSP Regulation Sections | Alternative Elements | Document which attachment(s) contains the applicable alternative element. | Document which section(s), page number(s), or briefly describe why that Alternative element does not apply to the entity.
Article 5 - Plan Contents
SubArticle 1 | Administrative Information
§ 354.4. | General Information
| (a) An executive summary written in plain language that provides an overview of the Plan and description of groundwater conditions in the basin. | Alternative | Pages 1-3, APP1 pages 1-2
| (b) A list of references and technical studies relied upon by the Agency in developing the Plan. Each Agency shall provide to the Department electronic copies of reports and other documents and materials cited as references that are not generally available to the public | Alternative | Pages 2-3, 9 and 32
§ 354.6. | Agency Information
| When submitting an adopted Plan to the Department, the Agency shall include a copy of the information provided pursuant to Water Code Section 10723.8, with any updates, if necessary, along with the following information: | Alternative | Page 1
| (a) The name and mailing address of the Agency. | Alternative | Page 6
| (b) The organization and management structure of the Agency, identifying persons with management authority for implementation of the Plan. | Alternative | Page 6
| (c) The name and contact information, including the phone number, mailing address and electronic mail address, of the plan manager. | Alternative | Page 6
| (d) The legal authority of the Agency, with specific reference to citations setting forth the duties, powers, and responsibilities of the Agency, demonstrating that the Agency has the legal authority to implement the Plan. | Alternative | APP7, Chapter 108 CWC Sec. 4. (a) Page 94
| (e) An estimate of the cost of implementing the Plan and a general description of how the Agency plans to meet those costs. | Alternative | Pages 6-7
§ 354.8. | Description of Plan Area
| Each Plan shall include a description of the geographic areas covered, including the following information: | GMP | Figure 1-1, Section 2, pages 2-1 to 2-43, Figures 2-1, 2-3, 2-4, 2-5, 2-6, 2-17
| (a) One or more maps of the basin that depict the following, as applicable: | See below
| (1) The area covered by the Plan, delineating areas managed by the Agency as an exclusive Agency and any areas for which the Agency is not an exclusive Agency, and the name and location of any adjacent basins. | Alternative | Page 7, APP2, Figure 1.
| (2) Adjudicated areas, other Agencies within the basin, and areas covered by an Alternative. | Does not apply | There are no adjudicated areas in Lake County, no other Agencies within the basin. The adjacent Scotts Valley basin is covered by an Alternative.
| (3) Jurisdictional boundaries of federal or state land (including the identity of the agency with jurisdiction over that land), tribal land, cities, counties, agencies with water management responsibilities, and areas covered by relevant general plans. | Alternative and GMP | Federal or State land, Alternative APP2 Figure 2; Tribal land,Alternative APP2 Figure 4 ; water management agencies, GMP Figure 1-1; General plans, Alternative APP2Figure 3
| (4) Existing land use designations and the identification of water use sector and water source type. | Alternative and GMP | GMP Figure 2-3 and Figure 2-4; Alternative APP3; Alternative page 9
| (5) The density of wells per square mile, by dasymetric or similar mapping techniques, showing the general distribution of agricultural, industrial, and domestic water supply wells in the basin, including de minimis extractors, and the location and extent of communities dependent upon groundwater, utilizing data provided by the Department, as specified in Section 353.2, or the best available information. | Alternative | Alternative APP2 Figure 1, Pages 7 -8, APP4, APP1 pages 9-10
| (b) A written description of the Plan area, including a summary of the jurisdictional areas and other features depicted on the map. | Alternative and GMP | GMP Section 2, Pages 2-1 to 2-43. Alternative Pages 7-11
| (c) Identification of existing water resource monitoring and management programs, and description of any such programs the Agency plans to incorporate in its monitoring network or in development of its Plan. The Agency may coordinate with existing water resource monitoring and management programs to incorporate and adopt that program as part of the Plan. | Alternative, GMP, APP5, LCWPDWEB | Alternative Pages 4 and 22-23, 27-30, APP5, LCWPDWEB; GMP Section 4, Page 4-1
| (d) A description of how existing water resource monitoring or management programs may limit operational flexibility in the basin, and how the Plan has been developed to adapt to those limits. | Alternative | Page 27
| (e) A description of conjunctive use programs in the basin. | Alternative | Pages 11-13
| (f) A plain language description of the land use elements or topic categories of applicable general plans that includes the following: | Alternative | Pages 9-11
| (1) A summary of general plans and other land use plans governing the basin. | Alternative | Pages 9-11
| (2) A general description of how implementation of existing land use plans may change water demands within the basin or affect the ability of the Agency to achieve sustainable groundwater management over the planning and implementation horizon, and how the Plan addresses those potential effects. | Lake County General Plan, 2008 | Pages 11-1 to 11-23
| (3) A general description of how implementation of the Plan may affect the water supply assumptions of relevant land use plans over the planning and implementation horizon. | Alternative | Page 10
| (4) A summary of the process for permitting new or replacement wells in the basin, including adopted standards in local well ordinances, zoning codes, and policies contained in adopted land use plans. | Alternative | Page 10
| (5) To the extent known, the Agency may include information regarding the implementation of land use plans outside the basin that could affect the ability of the Agency to achieve sustainable groundwater management. | Does not apply | This element is not applicable since the overriding Land use Plan is for the County as a whole covering all thirteen groundwater basins.
| (g) A description of any of the additional Plan elements included in Water Code Section 10727.4 that the Agency determines to be appropriate. | Alternative | Pages 26-27
§ 354.10. | Notice and Communication
| Each Plan shall include a summary of information relating to notification and communication by the Agency with other agencies and interested parties including the following: | Alternative | Pages 13-14
| (a) A description of the beneficial uses and users of groundwater in the basin, including the land uses and property interests potentially affected by the use of groundwater in the basin, the types of parties representing those interests, and the nature of consultation with those parties. | Alternative | Pages 7-8 and 13-14
| (b) A list of public meetings at which the Plan was discussed or considered by the Agency. | Alternative | Page 13
| (c) Comments regarding the Plan received by the Agency and a summary of any responses by the Agency. | Alternative | Page 13
| (d) A communication section of the Plan that includes the following: | Alternative | Pages 13-14
| (1) An explanation of the Agency’s decision-making process. | Alternative | Pages 5 and 13
| (2) Identification of opportunities for public engagement and a discussion of how public input and response will be used. | Alternative | Pages 13-14
| (3) A description of how the Agency encourages the active involvement of diverse social, cultural, and economic elements of the population within the basin. | Alternative | Pages 13-14
| (4) The method the Agency shall follow to inform the public about progress implementing the Plan, including the status of projects and actions. | Alternative, LCWPD Update Reports | Pages 13-14; LCWPD Update Reports
SubArticle 2 | Basin Setting
§ 354.14. | Hydrogeologic Conceptual Model
| (a) Each Plan shall include a descriptive hydrogeologic conceptual model of the basin based on technical studies and qualified maps that characterizes the physical components and interaction of the surface water and groundwater systems in the basin. | GMP, BV GMP | GMP Section 2, Plan Area Setting, 2.4.4 Big Valley Groundwater Basin, pages 2-17 to 2-20; BV GMP Pages 11 to 21
| (b) The hydrogeologic conceptual model shall be summarized in a written description that includes the following: | See below
| (1) The regional geologic and structural setting of the basin including the immediate surrounding area, as necessary for geologic consistency. | BVGRIU | BVGRIU, Section 5 Geology, page 5-2 to 5-3
| (2) Lateral basin boundaries, including major geologic features that significantly affect groundwater flow. | Alternative, BVGRIU | Alternative page 14; BVGRIU, Section 5 Geology, page 5-2 to 5-4
| (3) The definable bottom of the basin. | BVGRIU | BVGRIU, Page 5-5
| (4) Principal aquifers and aquitards, including the following information: | See below
| (A) Formation names, if defined. | BVGRIU | BVGRIU, Page 5-6 to 5-9
| (B) Physical properties of aquifers and aquitards, including the vertical and lateral extent, hydraulic conductivity, and storativity, which may be based on existing technical studies or other best available information. | BVGRIU | BVGRIU, Page 5-5 to 5-9
| (C) Structural properties of the basin that restrict groundwater flow within the principal aquifers, including information regarding stratigraphic changes, truncation of units, or other features. | BVGRIU | BVGRIU, Page 5-11 to 5-17
| (D) General water quality of the principal aquifers, which may be based on information derived from existing technical studies or regulatory programs. | BVGRIU | BVGRIU. Page 7-1 to 7-30
| (E) Identification of the primary use or uses of each aquifer, such as domestic, irrigation, or municipal water supply. | GMP | GMP Page 2-20
| (5) Identification of data gaps and uncertainty within the hydrogeologic conceptual model | Alternative | Page 14
| (c) The hydrogeologic conceptual model shall be represented graphically by at least two scaled cross-sections that display the information required by this section and are sufficient to depict major stratigraphic and structural features in the basin. | BVGRIU | BVGRIU, Page 5-5, 5-11 to 5-17
| (d) Physical characteristics of the basin shall be represented on one or more maps that depict the following: | See below
| (1) Topographic information derived from the U.S. Geological Survey or another reliable source. | GMP | GMP Figure 2-1
| (2) Surficial geology derived from a qualified map including the locations of cross-sections required by this Section. | Alternative, BVGRIU | Alternative APP2 Figure 6; BVGRIU Figure 5-4, page 5-4
| (3) Soil characteristics as described by the appropriate Natural Resources Conservation Service soil survey or other applicable studies. | GMP | GMP Figure 2-12 (two pages)
| (4) Delineation of existing recharge areas that substantially contribute to the replenishment of the basin, potential recharge areas, and discharge areas, including significant active springs, seeps, and wetlands within or adjacent to the basin. | Alternative; BVGRIU | Alternative KCDS; BVGRIU Section 10, page 10-2 to 10-3; Section 1, page 1-2
| (5) Surface water bodies that are significant to the management of the basin. | Alternative, BVGRIU | Alternative APP1 pages 4-5; BVGRIU Section 1, Basin Geology, page 1-2
§ 354.16. | Groundwater Conditions
| Each Plan shall provide a description of current and historical groundwater conditions in the basin, including data from January 1, 2015, to current conditions, based on the best available information that includes the following: | LCWPD GW Update Reports | LCWPD GW Update Reports
| (a) Groundwater elevation data demonstrating flow directions, lateral and vertical gradients, and regional pumping patterns, including: | See below
| (1) Groundwater elevation contour maps depicting the groundwater table or potentiometric surface associated with the current seasonal high and seasonal low for each principal aquifer within the basin. | BVGRIU | Appendix A
| (2) Hydrographs depicting long-term groundwater elevations, historical highs and lows, and hydraulic gradients between principal aquifers. | Alternative ; BVGRIU | Alternative Hydrographs, APP1 Attachment; BVGRIU Appendix B
| (b) A graph depicting estimates of the change in groundwater in storage, based on data, demonstrating the annual and cumulative change in the volume of groundwater in storage between seasonal high groundwater conditions, including the annual groundwater use and water year type. | Alternative | Hydrographs
| (c) Seawater intrusion conditions in the basin, including maps and cross-sections of the seawater intrusion front for each principal aquifer. | Does not apply | Lake County will probably not experience sea water intrusion due to its location.
| (d) Groundwater quality issues that may affect the supply and beneficial uses of groundwater, including a description and map of the location of known groundwater contamination sites and plumes. | SVWQC GAR | Section 14
| (e) The extent, cumulative total, and annual rate of land subsidence, including maps depicting total subsidence, utilizing data available from the Department, as specified in Section 353.2, or the best available information. | Alternative | Pages 14-16
| (f) Identification of interconnected surface water systems within the basin and an estimate of the quantity and timing of depletions of those systems, utilizing data available from the Department, as specified in Section 353.2, or the best available information. | Alternative | Page 16
| (g) Identification of groundwater dependent ecosystems within the basin, utilizing data available from the Department, as specified in Section 353.2, or the best available information. | Alternative | Page 16-17
§ 344.18. | Water Budget
| (a) Each Plan shall include a water budget for the basin that provides an accounting and assessment of the total annual volume of groundwater and surface water entering and leaving the basin, including historical, current and projected water budget conditions, and the change in the volume of water stored. Water budget information shall be reported in tabular and graphical form. | Alternative, BVGRIU, BVGMP | Alternative APP1 pages 12-16; BVGRIU, page 6-33 to 6-46; BVGMP, page 39, 41 and 42
| (b) The water budget shall quantify the following, either through direct measurements or estimates based on data: | See below
| (1) Total surface water entering and leaving a basin by water source type. | Alternative, WIA | Alternative APP1 Pages 3-4; WIA, page 2-3 and 2-4
| (2) Inflow to the groundwater system by water source type, including subsurface groundwater inflow and infiltration of precipitation, applied water, and surface water systems, such as lakes, streams, rivers, canals, springs and conveyance systems. | Alternative, BVGRIU | Alternative APP1 Pages 3-4; BVGRIU, page 6-33and 6-34
| (3) Outflows from the groundwater system by water use sector, including evapotranspiration, groundwater extraction, groundwater discharge to surface water sources, and subsurface groundwater outflow. | Alternative, BVGRIU | Alternative APP5 Table 2 Estimated Water Demand; BVGRIU, page 6-35 and 6-36
| (4) The change in the annual volume of groundwater in storage between seasonal high conditions. | BVGRIU | BVGRIU, page 6-36 and 6-37
| (5) If overdraft conditions occur, as defined in Bulletin 118, the water budget shall include a quantification of overdraft over a period of years during which water year and water supply conditions approximate average conditions. | Does not apply | Overdraft conditions are not currently occurring.
| (6) The water year type associated with the annual supply, demand, and change in groundwater stored. | Alternative | Page 18
| (7) An estimate of sustainable yield for the basin. | GMP | Page 2-17
| (c) Each Plan shall quantify the current, historical, and projected water budget for the basin as follows: | See below
| (1) Current water budget information shall quantify current inflows and outflows for the basin using the most recent hydrology, water supply, water demand, and land use information. | Alternative | Hydrographs
| (2) Historical water budget information shall be used to evaluate availability or reliability of past surface water supply deliveries and aquifer response to water supply and demand trends relative to water year type. The historical water budget shall include the following: | See below
| (A) A quantitative evaluation of the availability or reliability of historical surface water supply deliveries as a function of the historical planned versus actual annual surface water deliveries, by surface water source and water year type, and based on the most recent ten years of surface water supply information. | Alternative, BVGMP | Alternative pages 18-19, Hydrographs; BVGMP, page 39, 41,42
| (B) A quantitative assessment of the historical water budget, starting with the most recently available information and extending back a minimum of 10 years, or as is sufficient to calibrate and reduce the uncertainty of the tools and methods used to estimate and project future water budget information and future aquifer response to proposed sustainable groundwater management practices over the planning and implementation horizon. | Alternative, WDF | Alternative APP1 Pages 12-16; WDF, pag 2-2 to 2-7, Table 2-4, page 3-2, Figure 3-1, Table 3-3 and 3-4, page 4-2, 6-1 to 6-6, A-1 to A-17
| (C) A description of how historical conditions concerning hydrology, water demand, and surface water supply availability or reliability have impacted the ability of the Agency to operate the basin within sustainable yield. Basin hydrology may be characterized and evaluated using water year type. | Alternative | Pages 3-4, and 21-23
| (3) Projected water budgets shall be used to estimate future baseline conditions of supply, demand, and aquifer response to Plan implementation, and to identify the uncertainties of these projected water budget components. The projected water budget shall utilize the following methodologies and assumptions to estimate future baseline conditions concerning hydrology, water demand and surface water supply availability or reliability over the planning and implementation horizon: | Alternative, WDF | Alternative APP1 Pages 3-17; WDF, Appendix B-1 to B-64
| (A) Projected hydrology shall utilize 50 years of historical precipitation, evapotranspiration, and streamflow information as the baseline condition for estimating future hydrology. The projected hydrology information shall also be applied as the baseline condition used to evaluate future scenarios of hydrologic uncertainty associated with projections of climate change and sea level rise. | Alternative | Page 19, APP1 Pages 3-10
| (B) Projected water demand shall utilize the most recent land use, evapotranspiration, and crop coefficient information as the baseline condition for estimating future water demand. The projected water demand information shall also be applied as the baseline condition used to evaluate future scenarios of water demand uncertainty associated with projected changes in local land use planning, population growth, and climate. | Alternative, WDF | Alternative Pages 19-20, APP1 Pages 3-10; WDF, Appendix B-1 to B-64
| (C) Projected surface water supply shall utilize the most recent water supply information as the baseline condition for estimating future surface water supply. The projected surface water supply shall also be applied as the baseline condition used to evaluate future scenarios of surface water supply availability and reliability as a function of the historical surface water supply identified in Section 354.18(c)(2)(A), and the projected changes in local land use planning, population growth, and climate. | Alternative | Pages 19-20, APP1 Pages 3-17
| (d) The Agency shall utilize the following information provided, as available, by the Department pursuant to Section 353.2, or other data of comparable quality, to develop the water budget: | See below
| (1) Historical water budget information for mean annual temperature, mean annual precipitation, water year type, and land use. | Alternative, WIA | Alternative APP1 Pages 3-10; WIA Pages 4-1 to 4-22
| (2) Current water budget information for temperature, water year type, evapotranspiration, and land use. | Alternative | Page 19-20, APP3
| (3) Projected water budget information for population, population growth, climate change, and sea level rise. | Alternative, WDF | Alternative APP1 Pages 7-9; WDF Pages 6-1 to 6-6
| (e) Each Plan shall rely on the best available information and best available science to quantify the water budget for the basin in order to provide an understanding of historical and projected hydrology, water demand, water supply, land use, population, climate change, sea level rise, groundwater and surface water interaction, and subsurface groundwater flow. If a numerical groundwater and surface water model is not used to quantify and evaluate the projected water budget conditions and the potential impacts to beneficial uses and users of groundwater, the Plan shall identify and describe an equally effective method, tool, or analytical model to evaluate projected water budget conditions. | Alternative, BVGRIU | Alternative APP1 Pages 3-17; BVGRIU, page 8-1 to 8-20
| (f) The Department shall provide the California Central Valley Groundwater-Surface Water Simulation Model (C2VSIM) and the Integrated Water Flow Model (IWFM) for use by Agencies in developing the water budget. Each Agency may choose to use a different groundwater and surface water model, pursuant to Section 352.4. | Does not apply | The C2VSIM model does not cover the Big Valley basin.
§ 344.20. | Management Areas
| (a) Each Agency may define one or more management areas within a basin if the Agency has determined that creation of management areas will facilitate implementation of the Plan. Management areas may define different minimum thresholds and be operated to different measurable objectives than the basin at large, provided that undesirable results are defined consistently throughout the basin. | Does not apply | The District has no need to divide the Big Valley basin into smaller parts in order to manage the basin's groundwater.
| (b) A basin that includes one or more management areas shall describe the following in the Plan: | Does not apply | The District has no need to divide the Big Valley basin into smaller parts in order to manage the basin's groundwater.
| (1) The reason for the creation of each management area. | Does not apply | The District has no need to divide the Big Valley basin into smaller parts in order to manage the basin's groundwater.
| (2) The minimum thresholds and measurable objectives established for each management area, and an explanation of the rationale for selecting those values, if different from the basin at large. | Does not apply | The District has no need to divide the Big Valley basin into smaller parts in order to manage the basin's groundwater.
| (3) The level of monitoring and analysis appropriate for each management area. | Does not apply | The District has no need to divide the Big Valley basin into smaller parts in order to manage the basin's groundwater.
| (4) An explanation of how the management area can operate under different minimum thresholds and measurable objectives without causing undesirable results outside the management area, if applicable. | Does not apply | The District has no need to divide the Big Valley basin into smaller parts in order to manage the basin's groundwater.
| (c) If a Plan includes one or more management areas, the Plan shall include descriptions, maps, and other information required by this Subarticle sufficient to describe conditions in those areas. | Does not apply | The District has no need to divide the Big Valley basin into smaller parts in order to manage the basin's groundwater.
SubArticle 3 | Administrative Information
§ 354.24. | Sustainability Goal
| Each Agency shall establish in its Plan a sustainability goal for the basin that culminates in the absence of undesirable results within 20 years of the applicable statutory deadline. The Plan shall include a description of the sustainability goal, including information from the basin setting used to establish the sustainability goal, a discussion of the measures that will be implemented to ensure that the basin will be operated within its sustainable yield, and an explanation of how the sustainability goal is likely to be achieved within 20 years of Plan implementation and is likely to be maintained through the planning and implementation horizon. | Alternative, GMP | Alternative page 21; GMP, page 1-3
§ 354.26. | Undesirable Results
| (a) Each Agency shall describe in its Plan the processes and criteria relied upon to define undesirable results applicable to the basin. Undesirable results occur when significant and unreasonable effects for any of the sustainability indicators are caused by groundwater conditions occurring throughout the basin. | Alternative | Pages 21-23
| (b) The description of undesirable results shall include the following: | See below
| (1) The cause of groundwater conditions occurring throughout the basin that would lead to or has led to undesirable results based on information described in the basin setting, and other data or models as appropriate. | Alternative | Page 23
| (2) The criteria used to define when and where the effects of the groundwater conditions cause undesirable results for each applicable sustainability indicator. The criteria shall be based on a quantitative description of the combination of minimum threshold exceedances that cause significant and unreasonable effects in the basin. | Alternative | Pages 21-23
| (3) Potential effects on the beneficial uses and users of groundwater, on land uses and property interests, and other potential effects that may occur or are occurring from undesirable results. | Does not apply | There are currently no undesirable effects because the basin is sustainable.
| (c) The Agency may need to evaluate multiple minimum thresholds to determine whether an undesirable result is occurring in the basin. The determination that undesirable results are occurring may depend upon measurements from multiple monitoring sites, rather than a single monitoring site. | Alternative | Page 23
| (d) An Agency that is able to demonstrate that undesirable results related to one or more sustainability indicators are not present and are not likely to occur in a basin shall not be required to establish criteria for undesirable results related to those sustainability indicators. | Alternative | Pages 21-23
§ 354.28. | Minimum Threshold
| (a) Each Agency in its Plan shall establish minimum thresholds that quantify groundwater conditions for each applicable sustainability indicator at each monitoring site or representative monitoring site established pursuant to Section 354.36. The numeric value used to define minimum thresholds shall represent a point in the basin that, if exceeded, may cause undesirable results as described in Section 354.26. | Does not apply | Alternative Page 23
| (b) The description of minimum thresholds shall include the following: | See below
| (1) The information and criteria relied upon to establish and justify the minimum thresholds for each sustainability indicator. The justification for the minimum threshold shall be supported by information provided in the basin setting, and other data or models as appropriate, and qualified by uncertainty in the understanding of the basin setting. | Does not apply | Alternative Page 23
| (2) The relationship between the minimum thresholds for each sustainability indicator, including an explanation of how the Agency has determined that basin conditions at each minimum threshold will avoid undesirable results for each of the sustainability indicators. | Does not apply | Alternative Page 23
| (3) How minimum thresholds have been selected to avoid causing undesirable results in adjacent basins or affecting the ability of adjacent basins to achieve sustainability goals. | Does not apply | Alternative Page 23
| (4) How minimum thresholds may affect the interests of beneficial uses and users of groundwater or land uses and property interests. | Does not apply | Alternative Page 23
| (5) How state, federal, or local standards relate to the relevant sustainability indicator. If the minimum threshold differs from other regulatory standards, the Agency shall explain the nature of and basis for the difference. | Does not apply | Alternative Page 23
| (6) How each minimum threshold will be quantitatively measured, consistent with the monitoring network requirements described in Subarticle 4. | Does not apply | Alternative Page 23
| (c) Minimum thresholds for each sustainability indicator shall be defined as follows: | Does not apply | Alternative Page 23
| (1) Chronic Lowering of Groundwater Levels. The minimum threshold for chronic lowering of groundwater levels shall be the groundwater elevation indicating a depletion of supply at a given location that may lead to undesirable results. Minimum thresholds for chronic lowering of groundwater levels shall be supported by the following: | Does not apply | Alternative Page 23
| (A) The rate of groundwater elevation decline based on historical trends, water year type, and projected water use in the basin. | Does not apply | Alternative Page 23
| (B) Potential effects on other sustainability indicators. | Does not apply | Alternative Page 23
| (2) Reduction of Groundwater Storage. The minimum threshold for reduction of groundwater storage shall be a total volume of groundwater that can be withdrawn from the basin without causing conditions that may lead to undesirable results. Minimum thresholds for reduction of groundwater storage shall be supported by the sustainable yield of the basin, calculated based on historical trends, water year type, and projected water use in the basin. | Does not apply | Alternative Page 23
| (3) Seawater Intrusion. The minimum threshold for seawater intrusion shall be defined by a chloride concentration isocontour for each principal aquifer where seawater intrusion may lead to undesirable results. Minimum thresholds for seawater intrusion shall be supported by the following: | Does not apply | Alternative Page 23
| (A) Maps and cross-sections of the chloride concentration isocontour that defines the minimum threshold and measurable objective for each principal aquifer. | Does not apply | Alternative Page 23
| (B) A description of how the seawater intrusion minimum threshold considers the effects of current and projected sea levels. | Does not apply | Alternative Page 23
| (4) Degraded Water Quality. The minimum threshold for degraded water quality shall be the degradation of water quality, including the migration of contaminant plumes that impair water supplies or other indicator of water quality as determined by the Agency that may lead to undesirable results. The minimum threshold shall be based on the number of supply wells, a volume of water, or a location of an isocontour that exceeds concentrations of constituents determined by the Agency to be of concern for the basin. In setting minimum thresholds for degraded water quality, the Agency shall consider local, state, and federal water quality standards applicable to the basin. | Does not apply | Alternative Page 23
| (5) Land Subsidence. The minimum threshold for land subsidence shall be the rate and extent of subsidence that substantially interferes with surface land uses and may lead to undesirable results. Minimum thresholds for land subsidence shall be supported by the following: | Does not apply | Alternative Page 23
| (A) Identification of land uses and property interests that have been affected or are likely to be affected by land subsidence in the basin, including an explanation of how the Agency has determined and considered those uses and interests, and the Agency’s rationale for establishing minimum thresholds in light of those effects. | Does not apply | Alternative Page 23
| (B) Maps and graphs showing the extent and rate of land subsidence in the basin that defines the minimum threshold and measurable objectives. | Does not apply | Alternative Page 23
| (6) Depletions of Interconnected Surface Water. The minimum threshold for depletions of interconnected surface water shall be the rate or volume of surface water depletions caused by groundwater use that has adverse impacts on beneficial uses of the surface water and may lead to undesirable results. The minimum threshold established for depletions of interconnected surface water shall be supported by the following: | Does not apply | Alternative Page 23
| (A) The location, quantity, and timing of depletions of interconnected surface water. | Does not apply | Alternative Page 23
| (B) A description of the groundwater and surface water model used to quantify surface water depletion. If a numerical groundwater and surface water model is not used to quantify surface water depletion, the Plan shall identify and describe an equally effective method, tool, or analytical model to accomplish the requirements of this Paragraph. | Does not apply | Alternative Page 23
| (d) An Agency may establish a representative minimum threshold for groundwater elevation to serve as the value for multiple sustainability indicators, where the Agency can demonstrate that the representative value is a reasonable proxy for multiple individual minimum thresholds as supported by adequate evidence. | Does not apply | Alternative Page 23
| (e) An Agency that has demonstrated that undesirable results related to one or more sustainability indicators are not present and are not likely to occur in a basin, as described in Section 354.26, shall not be required to establish minimum thresholds related to those sustainability indicators. | Does not apply | Alternative Page 23
§ 354.30. | Measurable Objectives
| (a) Each Agency shall establish measurable objectives, including interim milestones in increments of five years, to achieve the sustainability goal for the basin within 20 years of Plan implementation and to continue to sustainably manage the groundwater basin over the planning and implementation horizon. | Alternative | Pages 23-27
| (b) Measurable objectives shall be established for each sustainability indicator, based on quantitative values using the same metrics and monitoring sites as are used to define the minimum thresholds. | Alternative | Pages 23-27
| (c) Measurable objectives shall provide a reasonable margin of operational flexibility under adverse conditions which shall take into consideration components such as historical water budgets, seasonal and long-term trends, and periods of drought, and be commensurate with levels of uncertainty. | Alternative | Pages 23-27
| (d) An Agency may establish a representative measurable objective for groundwater elevation to serve as the value for multiple sustainability indicators where the Agency can demonstrate that the representative value is a reasonable proxy for multiple individual measurable objectives as supported by adequate evidence. | Alternative | Pages 23-27
| (e) Each Plan shall describe a reasonable path to achieve the sustainability goal for the basin within 20 years of Plan implementation, including a description of interim milestones for each relevant sustainability indicator, using the same metric as the measurable objective, in increments of five years. The description shall explain how the Plan is likely to maintain sustainable groundwater management over the planning and implementation horizon. | Alternative | Pages 23-27
| (f) Each Plan may include measurable objectives and interim milestones for additional Plan elements described in Water Code Section 10727.4 where the Agency determines such measures are appropriate for sustainable groundwater management in the basin. | Alternative | Pages 23-27
| (g) An Agency may establish measurable objectives that exceed the reasonable margin of operational flexibility for the purpose of improving overall conditions in the basin, but failure to achieve those objectives shall not be grounds for a finding of inadequacy of the Plan. | Alternative | Pages 23-27
SubArticle 4 | Monitoring Networks
§ 354.34. | Monitoring Network
| (a) Each Agency shall develop a monitoring network capable of collecting sufficient data to demonstrate short-term, seasonal, and long-term trends in groundwater and related surface conditions, and yield representative information about groundwater conditions as necessary to evaluate Plan implementation. | Alternative | Pages 27-30
| (b) Each Plan shall include a description of the monitoring network objectives for the basin, including an explanation of how the network will be developed and implemented to monitor groundwater and related surface conditions, and the interconnection of surface water and groundwater, with sufficient temporal frequency and spatial density to evaluate the affects and effectiveness of Plan implementation. The monitoring network objectives shall be implemented to accomplish the following: | Alternative | Pages 27-30
| (1) Demonstrate progress toward achieving measurable objectives described in the Plan. | Alternative | Pages 27-30
| (2) Monitor impacts to the beneficial uses or users of groundwater. | Alternative | Pages 27-30
| (3) Monitor changes in groundwater conditions relative to measurable objectives and minimum thresholds. | Alternative | Pages 27-30
| (4) Quantify annual changes in water budget components. | Alternative | Pages 27-30
| (c) Each monitoring network shall be designed to accomplish the following for each sustainability indicator: |  | Pages 27-30
| (1) Chronic Lowering of Groundwater Levels. Demonstrate groundwater occurrence, flow directions, and hydraulic gradients between principal aquifers and surface water features by the following methods: | Alternative | Pages 27-30
| (A) A sufficient density of monitoring wells to collect representative measurements through depth-discrete perforated intervals to characterize the groundwater table or potentiometric surface for each principal aquifer. | Alternative | Pages 27-30
| (B) Static groundwater elevation measurements shall be collected at least two times per year, to represent seasonal low and seasonal high groundwater conditions. | Alternative | Pages 27-30
| (2) Reduction of Groundwater Storage. Provide an estimate of the change in annual groundwater in storage. | Alternative | Pages 27-30
| (3) Seawater Intrusion. Monitor seawater intrusion using chloride concentrations, or other measurements convertible to chloride concentrations, so that the current and projected rate and extent of seawater intrusion for each applicable principal aquifer may be calculated. |  | Pages 27-30
| (4) Degraded Water Quality. Collect sufficient spatial and temporal data from each applicable principal aquifer to determine groundwater quality trends for water quality indicators, as determined by the Agency, to address known water quality issues. | Alternative | Pages 27-30
| (5) Land Subsidence. Identify the rate and extent of land subsidence, which may be measured by extensometers, surveying, remote sensing technology, or other appropriate method. | Alternative | Pages 27-30
| (6) Depletions of Interconnected Surface Water. Monitor surface water and groundwater, where interconnected surface water conditions exist, to characterize the spatial and temporal exchanges between surface water and groundwater, and to calibrate and apply the tools and methods necessary to calculate depletions of surface water caused by groundwater extractions. The monitoring network shall be able to characterize the following: | Alternative | Pages 27-30
| (A) Flow conditions including surface water discharge, surface water head, and baseflow contribution. | Alternative | Pages 27-30
| (B) Identifying the approximate date and location where ephemeral or intermittent flowing streams and rivers cease to flow, if applicable. | Alternative | Page 28-29
| (C) Temporal change in conditions due to variations in stream discharge and regional groundwater extraction. | Alternative | Pages 27-30
| (D) Other factors that may be necessary to identify adverse impacts on beneficial uses of the surface water. | Alternative | Pages 27-30
| (d) The monitoring network shall be designed to ensure adequate coverage of sustainability indicators. If management areas are established, the quantity and density of monitoring sites in those areas shall be sufficient to evaluate conditions of the basin setting and sustainable management criteria specific to that area. | Does not apply | Management areas are not necessary and have not been established.
| (e) A Plan may utilize site information and monitoring data from existing sources as part of the monitoring network. | Alternative | Alternative page 25-26, APP5
| (f) The Agency shall determine the density of monitoring sites and frequency of measurements required to demonstrate short-term, seasonal, and long-term trends based upon the following factors: | Alternative | APP5
| (1) Amount of current and projected groundwater use. | Alternative, WDF | Alternative APP1 Pages 7-9, 11; Sections 2,3,4,5,6 and 7
| (2) Aquifer characteristics, including confined or unconfined aquifer conditions, or other physical characteristics that affect groundwater flow. | WIA | Page 2-17 to 2-21
| (3) Impacts to beneficial uses and users of groundwater and land uses and property interests affected by groundwater production, and adjacent basins that could affect the ability of that basin to meet the sustainability goal. | Alternative | Page 30
| (4) Whether the Agency has adequate long-term existing monitoring results or other technical information to demonstrate an understanding of aquifer response. | Alternative, GMP | Alternative APP5; GMP, page 4-1
| (g) Each Plan shall describe the following information about the monitoring network: | See below
| (1) Scientific rationale for the monitoring site selection process. | Alternative | APP5
| (2) Consistency with data and reporting standards described in Section 352.4. If a site is not consistent with those standards, the Plan shall explain the necessity of the site to the monitoring network, and how any variation from the standards will not affect the usefulness of the results obtained. | Alternative | APP5
| (3) For each sustainability indicator, the quantitative values for the minimum threshold, measurable objective, and interim milestones that will be measured at each monitoring site or representative monitoring sites established pursuant to Section 354.36. | Does not apply | No minimum thresholds are being calculated since the basin is achieving sustainability.
| (h) The location and type of each monitoring site within the basin displayed on a map, and reported in tabular format, including information regarding the monitoring site type, frequency of measurement, and the purposes for which the monitoring site is being used. | Alternative | APP2 Figure 1, APP5
| (i) The monitoring protocols developed by each Agency shall include a description of technical standards, data collection methods, and other procedures or protocols pursuant to Water Code Section 10727.2(f) for monitoring sites or other data collection facilities to ensure that the monitoring network utilizes comparable data and methodologies. | Alternative | APP5
| (j) An Agency that has demonstrated that undesirable results related to one or more sustainability indicators are not present and are not likely to occur in a basin, as described in Section 354.26, shall not be required to establish a monitoring network related to those sustainability indicators. | Alternative | Pages 21-23
§ 354.36. | Representative Monitoring
| Each Agency may designate a subset of monitoring sites as representative of conditions in the basin or an area of the basin, as follows: | Does not apply | Representative monitoring is not required in this basin.
| (a) Representative monitoring sites may be designated by the Agency as the point at which sustainability indicators are monitored, and for which quantitative values for minimum thresholds, measurable objectives, and interim milestones are defined. | Does not apply | Representative monitoring is not required in this basin.
| (b) Groundwater elevations may be used as a proxy for monitoring other sustainability indicators if the Agency demonstrates the following: | Does not apply | Representative monitoring is not required in this basin.
| (1) Significant correlation exists between groundwater elevations and the sustainability indicators for which groundwater elevation measurements serve as a proxy. | Does not apply | Representative monitoring is not required in this basin.
| (2) Measurable objectives established for groundwater elevation shall include a reasonable margin of operational flexibility taking into consideration the basin setting to avoid undesirable results for the sustainability indicators for which groundwater elevation measurements serve as a proxy. | Does not apply | Representative monitoring is not required in this basin.
| (c) The designation of a representative monitoring site shall be supported by adequate evidence demonstrating that the site reflects general conditions in the area. | Does not apply | Representative monitoring is not required in this basin.
§ 354.38. | Assessment and Improvement of Monitoring Network
| (a) Each Agency shall review the monitoring network and include an evaluation in the Plan and each five-year assessment, including a determination of uncertainty and whether there are data gaps that could affect the ability of the Plan to achieve the sustainability goal for the basin. | Alternative, GMP | Alternative Pages 30-31, APP5; GMP Pages 4-1, 4-4 to 4-5
| (b) Each Agency shall identify data gaps wherever the basin does not contain a sufficient number of monitoring sites, does not monitor sites at a sufficient frequency, or utilizes monitoring sites that are unreliable, including those that do not satisfy minimum standards of the monitoring network adopted by the Agency. | Alternative, GMP | Alternative page 14; GMP Pages 4-4 to 4-5
| (c) If the monitoring network contains data gaps, the Plan shall include a description of the following: | Alternative | Page 14, page 29
| (1) The location and reason for data gaps in the monitoring network. | Alternative | Page 14, page 29
| (2) Local issues and circumstances that limit or prevent monitoring. | Alternative | Pages 28-30
| (d) Each Agency shall describe steps that will be taken to fill data gaps before the next five-year assessment, including the location and purpose of newly added or installed monitoring sites. | Alternative | Pages 28-30
| (e) Each Agency shall adjust the monitoring frequency and density of monitoring sites to provide an adequate level of detail about site-specific surface water and groundwater conditions and to assess the effectiveness of management actions under circumstances that include the following: |  | Pages 28-30
| (1) Minimum threshold exceedances. | Does not apply | No minimum thresholds are required
| (2) Highly variable spatial or temporal conditions. | Alternative | Pages 30-31
| (3) Adverse impacts to beneficial uses and users of groundwater. | Alternative | Pages 28-30
| (4) The potential to adversely affect the ability of an adjacent basin to implement its Plan or impede achievement of sustainability goals in an adjacent basin. | Alternative | Page 30
§ 354.40. | Reporting Monitoring Data to the Department
| Monitoring data shall be stored in the data management system developed pursuant to Section 352.6. A copy of the monitoring data shall be included in the Annual Report and submitted electronically on forms provided by the Department. | Alternative | Page 31
SubArticle 5 | Projects and Management Actions
§ 354.44 | Projects and Management Actions
| a) Each Plan shall include a description of the projects and management actions the Agency has determined will achieve the sustainability goal for the basin, including projects and management actions to respond to changing conditions in the basin. | Alternative, GMP | Alternative page 31-32; GMP Page 4-1 to 4-10
| (b) Each Plan shall include a description of the projects and management actions that include the following: | See below
| (1) A list of projects and management actions proposed in the Plan with a description of the measurable objective that is expected to benefit from the project or management action. The list shall include projects and management actions that may be utilized to meet interim milestones, the exceedance of minimum thresholds, or where undesirable results have occurred or are imminent. The Plan shall include the following: | Alternative, GMP | Alternative page 31-32; GMP Page 4-1 to 4-10
| (A) A description of the circumstances under which projects or management actions shall be implemented, the criteria that would trigger implementation and termination of projects or management actions, and the process by which the Agency shall determine that conditions requiring the implementation of particular projects or management actions have occurred. | Alternative | Page 31-32
| (B) The process by which the Agency shall provide notice to the public and other agencies that the implementation of projects or management actions is being considered or has been implemented, including a description of the actions to be taken. | Alternative | Page 13-14
| (2) If overdraft conditions are identified through the analysis required by Section 354.18, the Plan shall describe projects or management actions, including a quantification of demand reduction or other methods, for the mitigation of overdraft. | Alternative, BVGRIU | Alternative Page 31; BVGRIU Section 9
| (3) A summary of the permitting and regulatory process required for each project and management action. | Alternative | Page 31
| (4) The status of each project and management action, including a time-table for expected initiation and completion, and the accrual of expected benefits. | Alternative | Page 31
| (5) An explanation of the benefits that are expected to be realized from the project or management action, and how those benefits will be evaluated. | Alternative | Pages 11-12 and 31
| (6) An explanation of how the project or management action will be accomplished. If the projects or management actions rely on water from outside the jurisdiction of the Agency, an explanation of the source and reliability of that water shall be included. | Alternative | Pages 11-12
| (7) A description of the legal authority required for each project and management action, and the basis for that authority within the Agency. | Alternative | Page 5
| (8) A description of the estimated cost for each project and management action and a description of how the Agency plans to meet those costs. | Alternative | Pages 6-7 and 12
| (9) A description of the management of groundwater extractions and recharge to ensure that chronic lowering of groundwater levels or depletion of supply during periods of drought is offset by increases in groundwater levels or storage during other periods. | Does not apply | Big Valley is not experiencing chronic lowering of groundwater levels.
| (c) Projects and management actions shall be supported by best available information and best available science. | Alternative | Page 31
| (d) An Agency shall take into account the level of uncertainty associated with the basin setting when developing projects or management actions. | Alternative | Pages 12 - 13
Article 7 | Annual Reports and Periodic Evaluations by the Agency
§ 356.2 | Annual Reports
| Each Agency shall submit an annual report to the Department by April 1 of each year following the adoption of the Plan. The annual report shall include the following components for the preceding water year: | Alternative | Page 32
| (a) General information, including an executive summary and a location map depicting the basin covered by the report. | Alternative | Page 32
| (b) A detailed description and graphical representation of the following conditions of the basin managed in the Plan: | Alternative | Page 32
| (1) Groundwater elevation data from monitoring wells identified in the monitoring network shall be analyzed and displayed as follows: | Alternative | Page 32
| (A) Groundwater elevation contour maps for each principal aquifer in the basin illustrating, at a minimum, the seasonal high and seasonal low groundwater conditions. | Alternative | Page 32
| (B) Hydrographs of groundwater elevations and water year type using historical data to the greatest extent available, including from January 1, 2015, to current reporting year. | Alternative | Page 32
| (2) Groundwater extraction for the preceding water year. Data shall be collected using the best available measurement methods and shall be presented in a table that summarizes groundwater extractions by water use sector, and identifies the method of measurement (direct or estimate) and accuracy of measurements, and a map that illustrates the general location and volume of groundwater extractions. | Alternative | Page 32
| (3) Surface water supply used or available for use, for groundwater recharge or in-lieu use shall be reported based on quantitative data that describes the annual volume and sources for the preceding water year. | Alternative | Page 32
| (4) Total water use shall be collected using the best available measurement methods and shall be reported in a table that summarizes total water use by water use sector, water source type, and identifies the method of measurement (direct or estimate) and accuracy of measurements. Existing water use data from the most recent Urban Water Management Plans or Agricultural Water Management Plans within the basin may be used, as long as the data are reported by water year. | Alternative | Page 32
| (5) Change in groundwater in storage shall include the following: | See below
| (A) Change in groundwater in storage maps for each principal aquifer in the basin. | Alternative | Page 32
| (B) A graph depicting water year type, groundwater use, the annual change in groundwater in storage, and the cumulative change in groundwater in storage for the basin based on historical data to the greatest extent available, including from January 1, 2015, to the current reporting year. | Alternative | Page 32
| (c) A description of progress towards implementing the Plan, including achieving interim milestones, and implementation of projects or management actions since the previous annual report. | Alternative | Page 32
§ 356.4 | Periodic Evaluation by Agency
| Each Agency shall evaluate its Plan at least every five years and whenever the Plan is amended, and provide a written assessment to the Department. The assessment shall describe whether the Plan implementation, including implementation of projects and management actions, are meeting the sustainability goal in the basin, and shall include the following: | Alternative | Page 32
| (a) A description of current groundwater conditions for each applicable sustainability indicator relative to measurable objectives, interim milestones and minimum thresholds. | Does not apply | Big Valley is currently a sustainable basin.
| (b) A description of the implementation of any projects or management actions, and the effect on groundwater conditions resulting from those projects or management actions. | Alternative | Page 32
| (c) Elements of the Plan, including the basin setting, management areas, or the identification of undesirable results and the setting of minimum thresholds and measurable objectives, shall be reconsidered and revisions proposed, if necessary. | Alternative | Page 32
| (d) An evaluation of the basin setting in light of significant new information or changes in water use, and an explanation of any significant changes. If the Agency’s evaluation shows that the basin is experiencing overdraft conditions, the Agency shall include an assessment of measures to mitigate that overdraft. | Alternative | Page 32
| (e) A description of the monitoring network within the basin, including whether data gaps exist, or any areas within the basin are represented by data that does not satisfy the requirements of Sections 352.4 and 354.34(c). The description shall include the following: | Alternative | Page 32
| (1) An assessment of monitoring network function with an analysis of data collected to date, identification of data gaps, and the actions necessary to improve the monitoring network, consistent with the requirements of Section 354.38. | Alternative | Page 32
| (2) If the Agency identifies data gaps, the Plan shall describe a program for the acquisition of additional data sources, including an estimate of the timing of that acquisition, and for incorporation of newly obtained information into the Plan. | Alternative | Page 32
| (3) The Plan shall prioritize the installation of new data collection facilities and analysis of new data based on the needs of the basin. | Alternative | Page 32
| (f) A description of significant new information that has been made available since Plan adoption or amendment, or the last five-year assessment. The description shall also include whether new information warrants changes to any aspect of the Plan, including the evaluation of the basin setting, measurable objectives, minimum thresholds, or the criteria defining undesirable results. | Alternative | Page 32
| (g) A description of relevant actions taken by the Agency, including a summary of regulations or ordinances related to the Plan. | Alternative | Page 32
| (h) Information describing any enforcement or legal actions taken by the Agency in furtherance of the sustainability goal for the basin. | Does not apply | Regulations with penalties are already in place. Basin is sustainable.
| (i) A description of completed or proposed Plan amendments. | Alternative | Page 32
| (j) Where appropriate, a summary of coordination that occurred between multiple Agencies in a single basin, Agencies in hydrologically connected basins, and land use agencies. | Does not apply | The District is the sole Agency for the basin and the adjacent basin.
| (k) Other information the Agency deems appropriate, along with any information required by the Department to conduct a periodic review as required by Water Code Section 10733. | Alternative | Page 32